## Slide 1: Solar Power Generation
Understanding Controls on Power Generation and Predicting Future Power Generation

## Slide 2: Solar Power Generation

## Slide 3: Objectives
Understand controls on power generation
Identify sub-optimal equipment
Create a model to predict daily yield
Predict daily yield for 3 days

## Slide 4: Datasets
Power Generation Data
Weather Sensor Data
Details
  15-minute increments
  Per solar module

## Slide 5: DC & AC Power Generation
Power generation window
Plant 2 is generating less DC power, on average
Plant 1 is more consistent

## Slide 6: Converted Power and Power Trends
Converted power (DC -> AC )
Average for both plants is approximately 9.78%

## Slide 7: Module-Level Generation
Plant 1 more consistent generation by module
  Only 2 underperforming modules
Many underperforming modules in Plant 2

## Slide 8: Weather Sensor Terminology
Irradiation
  ‘Power per unit area received from the sun’
  Measured in W/m^2
Module Temperature
  Temperature of the solar panel module
Ambient Temperature
  Air temperature
Delta Temperature
  Abs(Module Temp – Ambient Temp)

## Slide 9: Weather Sensor Data Controls on Power Generation

## Slide 10: Training and Testing Considerations
Extreme values/change in values
Missing Daily Yield values
Length of training set/cross-validation
Testing different models (SARIMAX and Prophet)
Error values and model selection

## Slide 11: Training and Testing – ARIMA Model Generation
Auto-ARIMA model selection
Time-intensive, but clear information about iteration

## Slide 12: Training and Testing – Full Data Series
SARIMAX(0, 1, 0)x(1, 1, 0, 96)
R2 = 0.928394 , MAE = 10648.491978, RMSE = 17024.627626

## Slide 13: Training and Testing – Full Data Series
SARIMAX(4, 1, 0)x(0, 1, 1, 96)
R2 = 0.986854 , MAE = 5473.729280, RMSE = 6801.701425

## Slide 14: Training and Testing – Prophet Model
Open-source model from Facebook
Pros: fast, versatility for seasonality
Cons: “Black Box”, not intuitive or interpretive

## Slide 15: Training and testing – Prophet Model
R2 = 0.889538 , MAE = 15177.635454, RMSE = 22184.559460

## Slide 16: Model Metrics
Prophet model runs quickest, easiest
  “Black Box” style model process
SARIMAX generalizes better, easier to understand model
  ‘End of Series’ train/test has lowest error metrics
  Full Series performs better than Prophet

## Slide 17: Prediction 3 Days of Daily Yield
Different predictions for each model
Full-Series SARIMAX is only model with no negative values

## Slide 18: Solar Plant Summary
Each plant has similar converted power percentage
Plant 2 has sub-optimally performing equipment
Ideal irradiation range for converted power optimization
Both SARIMAX and Prophet models have pros/cons
SARIMAX full-series is ideal model for predicting future power generation

## Slide 19: Next Steps
More rigorous cross-validation in Auto-ARIMA
Compare cumulative forecast yield with similar windows in dataset